## Sheet
S# | DWG | DETAIL | CSI NO | DESCRIPTION | QTY. | UNIT | UNIT COST | TOTAL COST
DIVISION 16 - ELECTRICAL
|  |  | 16720 | FIRE DETECTION AND ALARM SYSTEM WITH EMERGENCY VOICE/ALARM COMMUNICATION AND CENTRAL OFFICE CONNECTION
1 | E403 |  |  | Provide new fire alarm fuse cutout panel. | 1 | EA | 0 | 0
2 | E402 |  |  | Provide new fire alarm booster panel. | 1 | EA | 0 | 0
3 | FA101 |  |  | Provide new weatherproof 75 cd fire signal speaker with fire signal strobe. | 2 | EA | 0 | 0
4 | FA100-FA104 |  |  | Provide new duct mounted smoke detector. | 43 | EA | 0 | 0
5 | FA100-FA105 |  |  | Provide new smoke detector. | 56 | EA | 0 | 0
6 | FA100-FA105 |  |  | Provide new 30 cd fire signal speaker with fire signal strobe. | 65 | EA | 0 | 0
7 | FA101-FA102 |  |  | Provide new heat detector. | 7 | EA | 0 | 0
8 | FA100-FA105 |  |  | Provide new fire system pull station with false alarm stopper. | 32 | EA | 0 | 0
9 | FA100-FA105 |  |  | Provide new elevator recall smoke detector. | 5 | EA | 0 | 0
10 | E403 |  |  | Provide new fire alarm printer. | 1 | EA | 0 | 0
11 | FA101-FA105 |  |  | Provide new fire signal speaker. | 9 | EA | 0 | 0
12 | FA100-FA104 |  |  | Provide new 15cd fire signal speaker with fire signal strobe. | 55 | EA | 0 | 0
13 | FA100-FA105 |  |  | Provide new 75cd fire signal speaker with fire signal strobe. | 31 | EA | 0 | 0
14 | FA102 |  |  | Provide new 75cd fire signal speaker with fire signal strobe with guard. | 5 | EA | 0 | 0
15 | FA102 |  |  | Provide new 30 cd fire signal speaker with fire signal strobe with guard. | 1 | EA | 0 | 0
16 | FA102-FA105 |  |  | Provide new contact interface module. | 9 | EA | 0 | 0
17 | FA102-FA105 |  |  | Provide new relay module. | 13 | EA | 0 | 0
18 | FA102 |  |  | Provide new booster power supply BP-3. | 1 | EA | 0 | 0
19 | FA101 |  |  | Provide new booster power supply BP-2. | 1 | EA | 0 | 0
20 | FA100 |  |  | Provide new booster power supply BP-1. | 1 | EA | 0 | 0
21 | FA103 |  |  | Provide new booster power supply BP-4. | 1 | EA | 0 | 0
22 | FA104 |  |  | Provide new booster power supply BP-5. | 1 | EA | 0 | 0
23 | FA104 |  |  | Provide new carbon monoxide sensor. | 6 | EA | 0 | 0
24 | FA104-FA105 |  |  | Provide new weatherproof duct mounted smoke detector. | 10 | EA | 0 | 0
25 | FA105 |  |  | Provide new automatic smoke hatch. | 4 | EA | 0 | 0
26 | FA101 |  |  | Provide new fire alarm remote annunciator. | 1 | EA | 0 | 0
27 | FA101 |  |  | Provide new fire alarm ANSUL device. | 1 | EA | 0 | 0
28 | FA101 |  |  | Provide mew fire alarm system smoke purge control panel. | 1 | EA | 0 | 0
29 | FA101-FA102 |  |  | Provide new fire alarm system control panel with voice capability integral DACT and 24V battery backup. | 1 | EA | 0 | 0
30 | FA100-FA105 |  |  | Provide new 1#14 fplp fire alarm wiring from pull stations. VIF | 4900 | LF | 0 | 0
31 | FA100-FA105 |  |  | Provide new 1#14 fplp fire alarm wiring from smoke detectors. VIF | 780 | LF | 0 | 0
32 | FA100-FA105 |  |  | Provide new 1#14 fplp fire alarm wiring from speakers and strobes. VIF | 10050 | LF | 0 | 0
33 | FA100-FA105 |  |  | Provide new fire alarm wiring from pull boxes to fire alarm control panel. - R.F.I. - Details not given on riser. VIF | 1 | LS | 0 | 0
|  |  | 16724 | INTRUSION ALARM AND VIDEO INTERCOM SYSTEM
34 | E403 |  |  | Provide new indicated system control panel. | 1 | EA | 0 | 0
35 | E302 |  |  | Provide new intrusion alarm strobe light. | 1 | EA | 0 | 0
36 | E300-E301 |  |  | Provide new wall mounted wide angle passive infrared motion detector with guard. | 9 | EA | 0 | 0
37 | E300-E401 |  |  | Provide new 6" low voltage vibrating bell. | 17 | EA | 0 | 0
38 | E300-E401 |  |  | Provide new intrusion alarm siren. | 14 | EA | 0 | 0
39 | E301-E402 |  |  | Provide new magnetic door contacts. | 30 | EA | 0 | 0
40 | E301-E302 |  |  | Provide new intrusion alarm panic switch. | 4 | EA | 0 | 0
41 | E301-E304 |  |  | Provide new wall mounted long angle passive infrared motion detector with guard. | 20 | EA | 0 | 0
42 | E301 |  |  | Provide new furniture mounted intrusion alarm panic switch. | 1 | EA | 0 | 0
43 | E301 |  |  | Provide new intrusion alarm control panel and associated cabinets. | 1 | EA | 0 | 0
44 | E302 |  |  | Provide new weatherproof intrusion alarm siren. | 1 | EA | 0 | 0
45 | E300-E304 |  |  | Provide new 2RP#16 AWG unshielded twisted cable. | 2100 | LF | 0 | 0
46 | E300-E304 |  |  | Provide new 3RP#16 AWG unshielded twisted cable. | 1250 | LF | 0 | 0
47 | E300-E304 |  |  | Provide new low voltage wiring in 3/4" conduit for bell. | 1800 | LF | 0 | 0
|  |  |  | SUB-TOTAL (DIVISION 16) |  |  |  | 0
|  |  |  | GRAND TOTAL |  |  |  | 0
ABBREVIATIONS: "HRS"=Hours, "LF"=Linear feet, "SF"=Square feet, "CF"=Cubic feet, "CY"=Cubic yard, "EA"=Each, "LOC"=Locations, "LS"=Lump sum, "TON"=Tonnage.