## PLUMBING
PROJECT | 585 W 29TH AVENUE
ADDRESS | 585 W 29TH AVENUE, VANCOUVER, BC
Date of submission | 2023-09-16
Date of plans | 2023-08-24
Comments | Please go through all the comments and exclusions mentioned on this Estimate.
PLUMBING | 0
SR # | DESCRIPTION | QTY. | UNIT | LABOR UNIT COST | MATERIAL UNIT COST | TOTAL LABOR | TOTAL MATERIAL | TOTAL COST | REMARKS
STRUCTURES
1 | Trench Drain | 10.51 | LF | 0 | 0 | 0 | 0 | 0
2 | 2' Ø Catch Basin | 2 | EA | 0 | 0 | 0 | 0 | 0
3 | 48" Ø Sanitary Sump W/C Backwater Valve | 2 | EA | 0 | 0 | 0 | 0 | 0
4 | 24" x 24" In-Line Catch Basin | 1 | EA | 0 | 0 | 0 | 0 | 0
5 | Clean Out | 4 | EA | 0 | 0 | 0 | 0 | 0
PUMPS & TANKS
6 | SAP: Duplex Sanitary Pumps - 1HP (50GPM) | 2 | EA | 0 | 0 | 0 | 0 | 0
7 | STP: Duplex Storm Pumps - 1HP (50GPM) | 2 | EA | 0 | 0 | 0 | 0 | 0
8 | RP-1: GRUNDFOS - UP - 15/18 B7 - INLINE PUMP (6 GPM) | 1 | EA | 0 | 0 | 0 | 0 | 0
9 | HWT-1: Hot Water Tank - 4.5 KW | 2 | EA | 0 | 0 | 0 | 0 | 0
FLOOR DRAINS
10 | HB: Hose Bib | 22 | EA | 0 | 0 | 0 | 0 | 0
11 | FD: 2" Ø Floor Drain | 4 | EA | 0 | 0 | 0 | 0 | 0
12 | FD: 4" Floor Drains | 25 | EA | 0 | 0 | 0 | 0 | 0
13 | Scupper | 26 | EA | 0 | 0 | 0 | 0 | 0
14 | P-Trap | 53 | EA | 0 | 0 | 0 | 0 | 0
PERFORATED PIPES
15 | 4" Ø Perforated Draintile | 320.41 | LF | 0 | 0 | 0 | 0 | 0
SANITARY PIPES
16 | 1-1/2" Ø Sanitary Pipe | 69.55 | LF | 0 | 0 | 0 | 0 | 0
17 | 2" Ø Sanitary Pipe | 156.06 | LF | 0 | 0 | 0 | 0 | 0
18 | 3" Ø Sanitary Pipe | 447.98 | LF | 0 | 0 | 0 | 0 | 0
19 | 4" Ø Sanitary Pipe | 610.33 | LF | 0 | 0 | 0 | 0 | 0
20 | 4" Ø PDTS Pipe (Parkade Drainage Treatment System) | 93.71 | LF | 0 | 0 | 0 | 0 | 0
STORM WATER MANAGEMENT
21 | 3" Ø Storm Water Pipe | 259.42 | LF | 0 | 0 | 0 | 0 | 0
22 | 4" Ø Storm Water Pipe | 131.41 | LF | 0 | 0 | 0 | 0 | 0
VENT PIPES
23 | 2" Ø Vent Pipe | 539.44 | LF | 0 | 0 | 0 | 0 | 0
24 | 3" Ø Vent Pipe | 320.7 | LF | 0 | 0 | 0 | 0 | 0
25 | 4" Ø Vent Pipe | 29.85 | LF | 0 | 0 | 0 | 0 | 0
CONDENSATE PIPES
26 | 3/4" Condensate Pipe | 21.67 | LF | 0 | 0 | 0 | 0 | 0
27 | 1" Condensate Pipe | 136.61 | LF | 0 | 0 | 0 | 0 | 0
28 | 1-1/2" Condensate Pipe | 35.07 | LF | 0 | 0 | 0 | 0 | 0
29 | 1-1/4" Condensate Pipe | 686.02 | LF | 0 | 0 | 0 | 0 | 0
30 | LPC Pipe | 48.16 | LF | 0 | 0 | 0 | 0 | 0
WATER PIPES
31 | 1/2" Ø DCW Pipe | 42 | LF | 0 | 0 | 0 | 0 | 0
32 | 3/4" Ø DCW Pipe | 745.33 | LF | 0 | 0 | 0 | 0 | 0
33 | 1" Ø DCW Pipe | 34.88 | LF | 0 | 0 | 0 | 0 | 0
34 | 1-1/4" Ø DCW Pipe | 16.43 | LF | 0 | 0 | 0 | 0 | 0
35 | 1-1/2" Ø DCW Pipe | 51.7 | LF | 0 | 0 | 0 | 0 | 0
36 | 2" Ø DCW Pipe | 15.1 | LF | 0 | 0 | 0 | 0 | 0
37 | 1/2" Ø DHW Pipe | 7.78 | LF | 0 | 0 | 0 | 0 | 0
38 | 3/4" Ø DHW Pipe | 53.95 | LF | 0 | 0 | 0 | 0 | 0
39 | 1-1/4" Ø DHW Pipe | 65.2 | LF | 0 | 0 | 0 | 0 | 0
40 | 1/2" Ø DHRW Pipe | 87.65 | LF | 0 | 0 | 0 | 0 | 0
41 | 1/2" Ø HWS Pipe | 224.88 | LF | 0 | 0 | 0 | 0 | 0
42 | 1/2" Ø HWR Pipe | 223.22 | LF | 0 | 0 | 0 | 0 | 0
CHECK VALVES
43 | Check Valve | 12 | EA | 0 | 0 | 0 | 0 | 0
44 | Gate Valve | 1 | EA | 0 | 0 | 0 | 0 | 0
45 | Ball Valve | 12 | EA | 0 | 0 | 0 | 0 | 0
46 | Air Admittance Valve | 22 | EA | 0 | 0 | 0 | 0 | 0
INSULATION
WASTE PIPES
47 | 1-1/2" Ø Sanitary Pipe - 1/2" Insulation | 69.55 | LF | 0 | 0 | 0 | 0 | 0
48 | 2" Ø Sanitary Pipe - 1/2" Insulation | 156.06 | LF | 0 | 0 | 0 | 0 | 0
49 | 3" Ø Sanitary Pipe - 1/2" Insulation | 447.98 | LF | 0 | 0 | 0 | 0 | 0
50 | 4" Ø Sanitary Pipe - 1/2" Insulation | 610.33 | LF | 0 | 0 | 0 | 0 | 0
51 | 4" Ø PDTS Pipe (Parkade Drainage Treatment System) - 1/2" Insulation | 93.71 | LF | 0 | 0 | 0 | 0 | 0
52 | 3" Ø Storm Water Pipe - 1/2" Insulation | 259.42 | LF | 0 | 0 | 0 | 0 | 0
53 | 4" Ø Storm Water Pipe - 1/2" Insulation | 131.41 | LF | 0 | 0 | 0 | 0 | 0
HOSE BIB PIPES
54 | 1/2" Ø DCW HB Pipe - R-3 INSULATION 1"Ø THICKNESS & 7' LONG | 25.42 | LF | 0 | 0 | 0 | 0 | 0
PLUMBING FIXTURES
55 | LAV: SUITE LAVATORY - ACRITEC #36977 - WHITE | 30 | EA | 0 | 0 | 0 | 0 | 0
56 | SH: SUITE SHOWER - HYTEC ACR3775 (60"x32") - WHITE | 12 | EA | 0 | 0 | 0 | 0 | 0
57 | DSK: DOGWASH SINK - RIDALCO RUS-6024S (60"X24") | 1 | EA | 0 | 0 | 0 | 0 | 0
58 | WC: SUITE WATER CLOSET - AMERICAN STANDARD 2794 204 - WHITE | 24 | EA | 0 | 0 | 0 | 0 | 0
59 | BT: SUITE BATH TUB - ACRITEC LH-41399 / RH-41400 - WHITE | 6 | EA | 0 | 0 | 0 | 0 | 0
60 | KS: DOUBLE COMPARTMENT KITCHEN SINK - SONETTO S1063 | 11 | EA | 0 | 0 | 0 | 0 | 0
61 | OB1: OUTLET BOX - OATEY - CLOTHES WASHER | 6 | EA | 0 | 0 | 0 | 0 | 0
62 | DW: DISH WASHER | 5 | EA | 0 | 0 | 0 | 0 | 0
Note: 0% Wastage is figured with all quantities
[6 empty] | Total Labor | Total Material
[6 empty] | 0 | 0
Sub Total | [7 empty] | 0
[6 empty] | Profit | 35% | 0
Total | [7 empty] | 0